## Index
Indian Institute of Technology Bombay, Powai, Mumbai – 400 076.
Electrical Maintenance Division
Name of work : Rate Contract for Supply & Installation of Room AC.
Reference No. :- BW&E/CANO/EMD/01/RATE CONTRACT/ROOM AC:2015-16
Agency | Brand | Contact Number | Address | Email ID | Link for RC
Natural Cooling Services | Carrier | Mr. Srinivasan: 9324339191 | Shop No. 5, Building No. 77, Amrut C. H. S., Tilak Nagar, Chembur, Mumbai - 400089 | ncservice2013@gmail.com | Click Here
Kaplinks Engineering Pvt. Ltd. | Hitachi | Mr. Yousuf: 9821651219 | 12, Shivasagar Industrial Estate, Kotkar Road, Goregaon ( E) Mumbai - 400063 | yusuf@kaplinks.com | Click Here
S. K. Cooling Solutions | Daikin | Mr. Srinivas Rao: 9987728282 | Shop No. 43/2-2-2, Theertha Motors, S.G.Barve Marg, Near Eastern Express Highway, Kurla Signal, Chembur, Mumbai - 400071 | skcooling@rediffmail.com | Click Here
Nikhil Comfort | Toshiba | Mr. Ramakanth: 9833582527 | 01, Ground Floor, Shanti Bhuvan 'C' C. H. S. Ltd, Dr. R. P. Road, Mulund (W) Mumbai - 400080 | sales@nikhilcomforts.com | Click Here
JMD HVAC Pvt. Ltd | Mitsubishi Heavy | Mr. Aslam: 9820777605 | 79/628 Motilal Nagar, Near Motilal Post office, Opp Tripathi Book Center, Goregaon (W) Mumbai - 400104 | sales@jmdhvac.in | Click Here

## Natural Cooling
Indian Institute of Technology Bombay, Powai, Mumbai – 400 076.
TENDER FORMAT for Indigenous Supplies
Reference No. :- BW&E/CANO/EMD/01/RATE CONTRACT/ROOM AC:2015-16
Name of work : Rate Contract for Supply & Installation of Room AC.
Price Bid for Annual Rate contract of Room Air conditioners |  |  | M/s. Natural Cooling
No. | Item Description | Details | Make (CARRIER)
1 | Window Ac, 1 ton | Exact Model No. | GWRAC012EN
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | 24800
|  | Star rating | 3 STAR
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 12000
|  | Power Input Consumption (kW) | 1.15
|  | COP (W/W) | 3.05
|  | Window Size ( W x H) | W=24, H=16
|  | Type of Refrigerant (R22, R32, R410 etc) | R.22
1 | Window Ac, 1 ton | Exact Model No. | NOT QUOTED
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
2 | Window Ac, 1.5 ton | Exact Model No. | GWRAC018ER
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | 30800
|  | Star rating | 3 STAR
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 18800
|  | Power Input Consumption (kW) | 1.8
|  | COP (W/W) | 3.05
|  | Window Size ( W x H) | W=26, H=17
|  | Type of Refrigerant (R22, R32, R410 etc) | R-22
2 | Window Ac, 1.5 ton | Exact Model No. | NOT QUOTED
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
3 | Window Ac, 2 ton | Exact Model No. | NOT QUOTED
| 1 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
3 | Window Ac, 2 ton | Exact Model No. | GWRAC024ER
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | 35500
|  | Star rating | 3 STAR
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 21000
|  | Power Input Consumption (kW) | 1.965
|  | COP (W/W) | 3.13
|  | Window Size ( W x H) | W=26", H=16"
|  | Type of Refrigerant (R22, R32, R410 etc) | R-22
4 | Split Ac, 1 ton | Exact Model No. | 42 KGN 012S
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | 38000
|  | Star rating | 5 STAR
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 650
|  | Extra wire/cable, charges/RMT, above 4 meter | 110
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter, above 4 meter | 45
|  | Aluminium cladding of external pipe per meter | 450
|  | PVC Trunking | 300
|  | Installation & commissioning cost | 1400
|  | Outdoor frame for Installation | 900
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 12000
|  | Power Input Consumption (kW) | 0.94
|  | COP (W/W) | 3.73
|  | Type of Refrigerant (R22, R32, R410 etc) | R-22
5 | Split Ac, 1.5 ton | Exact Model No. | 42KGN018N
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | 45000
|  | Star rating | 5 STAR
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 650
|  | Extra wire/cable, charges/RMT, above 4 meter | 110
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter, above 4 meter | 45
|  | Aluminium cladding of external pipe per meter | 450
|  | PVC Trunking | 300
|  | Installation & commissioning cost | 1400
|  | Outdoor frame for Installation | 900
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 18500
|  | Power Input Consumption (kW) | 1.471
|  | COP (W/W) | 3.68
|  | Type of Refrigerant (R22, R32, R410 etc) | R-22
6 | Split Ac, 2 ton | Exact Model No. | NOT QUOTED
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | -----
|  | Star rating | -----
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | -----
|  | Extra copper piping charges/RMT, above 4 meter | -----
|  | Extra wire/cable, charges/RMT, above 4 meter | -----
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter, above 4 meter | -----
|  | Aluminium cladding of external pipe per meter | -----
|  | PVC Trunking | -----
|  | Installation & commissioning cost | -----
|  | Outdoor frame for Installation | -----
|  | Less: Buy back cost | -----
|  | Precise Cooling Capacity (BTU/h) | -----
|  | Power Input Consumption (kW) | -----
|  | COP (W/W) | -----
|  | Type of Refrigerant (R22, R32, R410 etc) | -----
6 | Split Ac, 2 ton | Exact Model No. | NOT QUOTED
| 4 STAR | Total cost (Incl. Taxes, octroi, etc) | -----
|  | Star rating | -----
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | -----
|  | Extra copper piping charges/RMT, above 4 meter | -----
|  | Extra wire/cable, charges/RMT, above 4 meter | -----
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter, above 4 meter | -----
|  | Aluminium cladding of external pipe per meter | -----
|  | PVC Trunking | -----
|  | Installation & commissioning cost | -----
|  | Outdoor frame for Installation | -----
|  | Less: Buy back cost | -----
|  | Precise Cooling Capacity (BTU/h) | -----
|  | Power Input Consumption (kW) | -----
|  | COP (W/W) | -----
|  | Type of Refrigerant (R22, R32, R410 etc) | -----
7 | Split Ac, 2 ton | Exact Model No. | 42KGN 024S
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | 53000
|  | Star rating | 5 STAR
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 650
|  | Extra wire/cable, charges/RMT, above 4 meter | 110
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter, above 4 meter | 45
|  | Aluminium cladding of external pipe per meter | 450
|  | PVC Trunking | 300
|  | Installation & commissioning cost | 1400
|  | Outdoor frame for Installation | 900
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 21200
|  | Power Input Consumption (kW) | 1.685
|  | COP (W/W) | 3.68
|  | Type of Refrigerant (R22, R32, R410 etc) | R-22
8 | Split Ac, 1 ton, Inverter | Exact Model No. | MOB-12CDN2
|  | Total cost (Incl. Taxes, octroi, etc) | 38900
|  | Star rating | INVERTER
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 650
|  | Extra wire/cable, charges/RMT, above 4 meter | 110
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter, above 4 meter | 45
|  | Aluminium cladding of external pipe per meter | 450
|  | PVC Trunking | 300
|  | Installation & commissioning cost | 1500
|  | Outdoor frame for Installation | 900
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 13200
|  | Power Input Consumption (kW) | 1.14
|  | COP (W/W) | NA
|  | Type of Refrigerant (R22, R32, R410 etc) | R-410A
9 | Split Ac, 1.5 ton, Inverter | Exact Model No. | MOB-18 CDN2
|  | Total cost (Incl. Taxes, octroi, etc) | 50500
|  | Star rating | INVERTER
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 650
|  | Extra wire/cable, charges/RMT, above 4 meter | 110
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter, above 4 meter | 45
|  | Aluminium cladding of external pipe per meter | 450
|  | PVC Trunking | 300
|  | Installation & commissioning cost | 1500
|  | Outdoor frame for Installation | 900
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 19300
|  | Power Input Consumption (kW) | 1.65
|  | COP (W/W) | NA
|  | Type of Refrigerant (R22, R32, R410 etc) | R-410A
10 | Split Ac, 2 ton, Inverter | Exact Model No. | MOF-21CDN2
|  | Total cost (Incl. Taxes, octroi, etc) | 61500
|  | Star rating | INVERTER
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 650
|  | Extra wire/cable, charges/RMT, above 4 meter | 110
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter, above 4 meter | 45
|  | Aluminium cladding of external pipe per meter | 450
|  | PVC Trunking | 300
|  | Installation & commissioning cost | 1500
|  | Outdoor frame for Installation | 900
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 24200
|  | Power Input Consumption (kW) | 2.08
|  | COP (W/W) | NA
|  | Type of Refrigerant (R22, R32, R410 etc) | R-410A
11 | Cassette 2 Ton | Exact Model No. | 51MSG-24RR
|  | Total cost (Incl. Taxes, octroi, etc) | 69000
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 650
|  | Extra wire/cable, charges/RMT, above 4 meter | 110
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter, above 4 meter | 45
|  | Aluminium cladding of external pipe per meter | 450
|  | PVC Trunking | 300
|  | Installation & commissioning cost | 1800
|  | Outdoor frame for Installation (Indoor Bracket) | 900
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 23000
|  | Power Input Consumption (kW) | 2.4
|  | COP (W/W) | 2.79
|  | Type of Refrigerant (R22, R32, R410 etc) | R-22
12 | Cassette 3 Ton | Exact Model No. | 51MSG-036 RS
|  | Total cost (Incl. Taxes, octroi, etc) | 101500
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 850
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter, above 4 meter | 65
|  | Aluminium cladding of external pipe per meter | 450
|  | PVC Trunking | 300
|  | Installation & commissioning cost | 2000
|  | Outdoor frame for Installation (Indoor Bracket) | 900
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 36000
|  | Power Input Consumption (kW) | 3.6
|  | COP (W/W) | 2.92
|  | Type of Refrigerant (R22, R32, R410 etc) | R-22
13 | Cassette 4 Ton | Exact Model No. | 51 MSG-048RS
|  | Total cost (Incl. Taxes, octroi, etc) | 119500
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 850
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter, above 4 meter | 65
|  | Aluminium cladding of external pipe per meter | 450
|  | PVC Trunking | 300
|  | Installation & commissioning cost | 2000
|  | Outdoor frame for Installation (Indoor Bracket) | 900
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 47000
|  | Power Input Consumption (kW) | 4.75
|  | COP (W/W) | 2.89
|  | Type of Refrigerant (R22, R32, R410 etc) | R-22
14 | Tower Air conditioner, 2 Ton | Exact Model No. | 38KFJ-024718
|  | Total cost (Incl. Taxes, octroi, etc) | 69500
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 750
|  | Extra wire/cable, charges/RMT, above 4 meter | 110
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter, above 4 meter | 45
|  | Aluminium cladding of external pipe per meter | 450
|  | PVC Trunking | 300
|  | Indoor unit Stand (1 no.) | 800
|  | Installation & commissioning cost | 2000
|  | Outdoor frame for Installation | 1000
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 24000
|  | Power Input Consumption (kW) | 2.4
|  | COP (W/W) | 2.92
|  | Type of Refrigerant (R22, R32, R410 etc) | R-22
15 | Tower Air conditioner, 3 Ton | Exact Model No. | 38KFJ0 36518
|  | Total cost (Incl. Taxes, octroi, etc) | 92000
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 850
|  | Extra wire/cable, charges/RMT, above 4 meter | 120
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter, above 4 meter | 65
|  | Aluminium cladding of external pipe per meter | 450
|  | PVC Trunking | 300
|  | Indoor unit Stand (1 no.) | 800
|  | Installation & commissioning cost | 2000
|  | Outdoor frame for Installation | 1000
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 33000
|  | Power Input Consumption (kW) | INDOOR=300 W, OUT DOOR=162 W
|  | COP (W/W) | NA
|  | Type of Refrigerant (R22, R32, R410 etc) | R-22
16 | Tower Air conditioner, 4 Ton | Exact Model No. (BTU/h) | 38 KFJ042518
|  | Total cost (Incl. Taxes, octroi, etc) | 102500
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter (Hard Pipe) | 890
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter, above 4 meter | 65
|  | Aluminium cladding of external pipe per meter | 450
|  | PVC Trunking | 300
|  | Indoor unit Stand (1 no.) | 800
|  | Installation & commissioning cost | 2500
|  | Outdoor frame for Installation | 2500
|  | Less: Buy back cost | 3800
|  | Precise Cooling Capacity (BTU/h) | 42000
|  | Power Input Consumption (kW) | INDOOR=300 W, OUT DOOR=290W
|  | COP (W/W) | NA
|  | Type of Refrigerant (R22, R32, R410 etc) | R-22
17 | Tower Air conditioner, 5 Ton | Exact Model No. | 38 KFJ055518
|  | Total cost (Incl. Taxes, octroi, etc) | 134000
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter (Hard Pipe) | 890
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter, above 4 meter | 65
|  | Aluminium cladding of external pipe per meter | 450
|  | PVC Trunking | 300
|  | Indoor unit Stand (1 no.) | 800
|  | Installation & commissioning cost | 2500
|  | Outdoor frame for Installation | 1000
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 52000 BTU
|  | Power Input Consumption (kW) | INDOOR=300 W, OUT DOOR=148W
|  | COP (W/W) | NA
|  | Type of Refrigerant (R22, R32, R410 etc) | R-22
Disclaimer: The rate contract models are derived from tendering done at the EMD department. Prices are compared for the models with online website data and it has been found that the prices of most of the models are within ± 10 % of market prices as on 25/07/2015. Rate contract is done for one year and any fluctuations in market prices are not applicable to rate contract models. The agencies considered have been authorized by respective OEMs, and are well conversant with IIT Bombay policies and security conditions/guidelines. If the user is getting the same AC in an open market at a lesser price, He/she may process the same following Institute norms. He/she is required to ascertain warranty and free under warranty services from respective non rate contracted venders and hand over the AC in good working condition to EMD for AMC above the guarantee period.

## Kaplinks
Indian Institute of Technology Bombay, Powai, Mumbai – 400 076.
TENDER FORMAT for Indigenous Supplies
Reference No. :- BW&E/CANO/EMD/01/RATE CONTRACT/ROOM AC:2015-16
Name of work : Rate Contract for Supply & Installation of Room AC.
Price Bid for Annual Rate contract of Room Air conditioners |  |  | M/s.Kaplinks
No. | Item Description | Details | Make (HITACHI)
1 | Window Ac, 1 ton | Exact Model No. | NOT QUOTED
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
Power Input Consumption (kW)
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
1 | Window Ac, 1 ton | Exact Model No. | RAW511KUD
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | 28800
|  | Star rating | 5 STAR
|  | Less: Buy back cost | 1000
|  | Precise Cooling Capacity (BTU/h) | 11942
|  | Power Input Consumption (kW) | 1.03
|  | COP (W/W) | 3.4
|  | Window Size ( W x H) | 26.4 x 17.2
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
2 | Window Ac, 1.5 ton | Exact Model No. | NOT QUOTED
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
2 | Window Ac, 1.5 ton | Exact Model No. | RAW518KUDZ1
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | 34200
|  | Star rating | 5 STAR
|  | Less: Buy back cost | 1000
|  | Precise Cooling Capacity (BTU/h) | 18000
|  | Power Input Consumption (kW) | 1.575
|  | COP (W/W) | 3.35
|  | Window Size ( W x H) | 26.4 x 17.2
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
3 | Window Ac, 2 ton | Exact Model No. | RAW122KUD
| 1 STAR | Total cost (Incl. Taxes, octroi, etc) | 33700
|  | Star rating | 1 STAR
|  | Less: Buy back cost | 1000
|  | Precise Cooling Capacity (BTU/h) | 21019
|  | Power Input Consumption (kW) | 2.425
|  | COP (W/W) | 2.54
|  | Window Size ( W x H) | 26.4 x 17.2
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
3 | Window Ac, 2 ton | Exact Model No. | NOT QUOTED
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
4 | Split Ac, 1 ton | Exact Model No. | RAU512KUDB
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | 32400
|  | Star rating | 5 STAR
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 750
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 550
|  | PVC Trunking | 500
|  | Installation & commissioning cost | 2500
|  | Outdoor frame for Installation | 1500
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 11540
|  | Power Input Consumption (kW) | 0.96
|  | COP (W/W) | 3.52
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
5 | Split Ac, 1.5 ton | Exact Model No. | RAU518KUDB
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | 39000
|  | Star rating | 5 STAR
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 750
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 550
|  | PVC Trunking | 500
|  | Installation & commissioning cost | 2500
|  | Outdoor frame for Installation | 1500
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 18562
|  | Power Input Consumption (kW) | 1.495
|  | COP (W/W) | 3.64
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
6 | Split Ac, 2 ton | Exact Model No. | RAU323KUDB
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | 44500
|  | Star rating | 3 STAR
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 750
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 550
|  | PVC Trunking | 500
|  | Installation & commissioning cost | 2500
|  | Outdoor frame for Installation | 1500
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 23040
|  | Power Input Consumption (kW) | 2.11
|  | COP (W/W) | 3.2
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
6 | Split Ac, 2 ton | Exact Model No. | NOT QUOTED
| 4 STAR | Total cost (Incl. Taxes, octroi, etc) | -----
|  | Star rating | -----
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | -----
|  | Extra copper piping charges/RMT, above 4 meter | -----
|  | Extra wire/cable, charges/RMT, above 4 meter | -----
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | -----
|  | Aluminium cladding of external pipe per meter | -----
|  | PVC Trunking | -----
|  | Installation & commissioning cost | -----
|  | Outdoor frame for Installation | -----
|  | Less: Buy back cost | -----
|  | Precise Cooling Capacity (BTU/h) | -----
|  | Power Input Consumption (kW) | -----
|  | COP (W/W) | -----
|  | Type of Refrigerant (R22, R32, R410 etc) | -----
7 | Split Ac, 2 ton | Exact Model No. | RAU524IUD
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | 55500
|  | Star rating | 5 STAR
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 750
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 550
|  | PVC Trunking | 500
|  | Installation & commissioning cost | 2500
|  | Outdoor frame for Installation | 1500
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 24000
|  | Power Input Consumption (kW) | 1.95
|  | COP (W/W) | 3.61
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
8 | Split Ac, 1 ton, Inverter | Exact Model No. | RAU012KV EA
|  | Total cost (Incl. Taxes, octroi, etc) | 43000
|  | Star rating | INVERTER
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 750
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 550
|  | PVC Trunking | 500
|  | Installation & commissioning cost | 2500
|  | Outdoor frame for Installation | 1500
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 12014
|  | Power Input Consumption (kW) | 0.995
|  | COP (W/W) | 3.54
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
9 | Split Ac, 1.5 ton, Inverter | Exact Model No. | RAU018KVEA
|  | Total cost (Incl. Taxes, octroi, etc) | 51500
|  | Star rating | INVERTER
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 750
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 550
|  | PVC Trunking | 500
|  | Installation & commissioning cost | 2500
|  | Outdoor frame for Installation | 1500
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 18000
|  | Power Input Consumption (kW) | 1.55
|  | COP (W/W) | 3.4
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
10 | Split Ac, 2 ton, Inverter | Exact Model No. | RAU023HVEA
|  | Total cost (Incl. Taxes, octroi, etc) | 61500
|  | Star rating | INVERTER
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 750
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 550
|  | PVC Trunking | 500
|  | Installation & commissioning cost | 2500
|  | Outdoor frame for Installation | 1500
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 23060
|  | Power Input Consumption (kW) | 1.93
|  | COP (W/W) | 3.5
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
11 | Cassette 2 Ton | Exact Model No. | RAG 024HUD
|  | Total cost (Incl. Taxes, octroi, etc) | 72000
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 750
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 550
|  | PVC Trunking | 500
|  | Installation & commissioning cost | 2500
|  | Outdoor frame for Installation (Indoor Bracket) | 1500.00+1000.00
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 24500
|  | Power Input Consumption (kW) | 2.28
|  | COP (W/W) | 3.15
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
12 | Cassette 3 Ton | Exact Model No. | RAG036HTD
|  | Total cost (Incl. Taxes, octroi, etc) | 94000
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 750
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 550
|  | PVC Trunking | 500
|  | Installation & commissioning cost | 2500
|  | Outdoor frame for Installation (Indoor Bracket) | 1500.00+ 1000.00
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 36000
|  | Power Input Consumption (kW) | 3.05
|  | COP (W/W) | 3.46
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
13 | Cassette 4 Ton | Exact Model No. | RAG 048HTD3
|  | Total cost (Incl. Taxes, octroi, etc) | 121000
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 1000
|  | Extra wire/cable, charges/RMT, above 4 meter | 200
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 125
|  | Aluminium cladding of external pipe per meter | 550
|  | PVC Trunking | 500
|  | Installation & commissioning cost | 4500
|  | Outdoor frame for Installation (Indoor Bracket) | 3000.00 +1000.00
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 48000
|  | Power Input Consumption (kW) | 4.45
|  | COP (W/W) | 3.16
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
14 | Tower Air conditioner, 2 Ton | Exact Model No. | NOT QUOTED
|  | Total cost (Incl. Taxes, octroi, etc) | -----
|  | Star rating | -----
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | -----
|  | Extra copper piping charges/RMT, above 4 meter | -----
|  | Extra wire/cable, charges/RMT, above 4 meter | -----
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | -----
|  | Aluminium cladding of external pipe per meter | -----
|  | PVC Trunking | -----
|  | Indoor unit Stand (1 no.) | -----
|  | Installation & commissioning cost | -----
|  | Outdoor frame for Installation | -----
|  | Less: Buy back cost | -----
|  | Precise Cooling Capacity (BTU/h) | -----
|  | Power Input Consumption (kW) | -----
|  | COP (W/W) | -----
|  | Type of Refrigerant (R22, R32, R410 etc) | -----
15 | Tower Air conditioner, 3 Ton | Exact Model No. | NOT QUOTED
|  | Total cost (Incl. Taxes, octroi, etc) | -----
|  | Star rating | -----
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | -----
|  | Extra copper piping charges/RMT, above 4 meter | -----
|  | Extra wire/cable, charges/RMT, above 4 meter | -----
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | -----
|  | Aluminium cladding of external pipe per meter | -----
|  | PVC Trunking | -----
|  | Indoor unit Stand (1 no.) | -----
|  | Installation & commissioning cost | -----
|  | Outdoor frame for Installation | -----
|  | Less: Buy back cost | -----
|  | Precise Cooling Capacity (BTU/h) | -----
|  | Power Input Consumption (kW) | -----
|  | COP (W/W) | -----
|  | Type of Refrigerant (R22, R32, R410 etc) | -----
16 | Tower Air conditioner, 4 Ton | Exact Model No. (BTU/h) | NOT QUOTED
|  | Total cost (Incl. Taxes, octroi, etc) | -----
|  | Star rating | -----
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | -----
|  | Extra copper piping charges/RMT, above 4 meter (Hard Pipe) | -----
|  | Extra wire/cable, charges/RMT, above 4 meter | -----
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | -----
|  | Aluminium cladding of external pipe per meter | -----
|  | PVC Trunking | -----
|  | Indoor unit Stand (1 no.) | -----
|  | Installation & commissioning cost | -----
|  | Outdoor frame for Installation | -----
|  | Less: Buy back cost | -----
|  | Precise Cooling Capacity (BTU/h) | -----
|  | Power Input Consumption (kW) | -----
|  | COP (W/W) | -----
|  | Type of Refrigerant (R22, R32, R410 etc) | -----
17 | Tower Air conditioner, 5 Ton | Exact Model No. | NOT QUOTED
|  | Total cost (Incl. Taxes, octroi, etc) | -----
|  | Star rating | -----
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | -----
|  | Extra copper piping charges/RMT, above 4 meter (Hard Pipe) | -----
|  | Extra wire/cable, charges/RMT, above 4 meter | -----
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | -----
|  | Aluminium cladding of external pipe per meter | -----
|  | PVC Trunking | -----
|  | Indoor unit Stand (1 no.) | -----
|  | Installation & commissioning cost | -----
|  | Outdoor frame for Installation | -----
|  | Less: Buy back cost | -----
|  | Precise Cooling Capacity (BTU/h) | -----
|  | Power Input Consumption (kW) | -----
|  | COP (W/W) | -----
|  | Type of Refrigerant (R22, R32, R410 etc) | -----
Disclaimer: The rate contract models are derived from tendering done at the EMD department. Prices are compared for the models with online website data and it has been found that the prices of most of the models are within ± 10 % of market prices as on 25/07/2015. Rate contract is done for one year and any fluctuations in market prices are not applicable to rate contract models. The agencies considered have been authorized by respective OEMs, and are well conversant with IIT Bombay policies and security conditions/guidelines. If the user is getting the same AC in an open market at a lesser price, He/she may process the same following Institute norms. He/she is required to ascertain warranty and free under warranty services from respective non rate contracted venders and hand over the AC in good working condition to EMD for AMC after the guarantee period.

## S. K. Cooling
Indian Institute of Technology Bombay, Powai, Mumbai – 400 076.
TENDER FORMAT for Indigenous Supplies
Reference No. :- BW&E/CANO/EMD/01/RATE CONTRACT/ROOM AC:2015-16
Name of work : Rate Contract for Supply & Installation of Room AC.
Price Bid for Annual Rate contract of Room Air conditioners |  |  | M/s. S.K.Cooling
No. | Item Description | Details | Make(Daikin)
1 | Window Ac, 1 ton | Exact Model No. | NOT QUOTED
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
1 | Window Ac, 1 ton | Exact Model No. | NOT QUOTED
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
2 | Window Ac, 1.5 ton | Exact Model No. | NOT QUOTED
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
2 | Window Ac, 1.5 ton | Exact Model No. | NOT QUOTED
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
3 | Window Ac, 2 ton | Exact Model No. | NOT QUOTED
| 1 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
3 | Window Ac, 2 ton | Exact Model No. | NOT QUOTED
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
4 | Split Ac, 1 ton | Exact Model No. | FTF 35QRV16
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | 36378
|  | Star rating | 5 STAR
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 3.5 + 0 + 4 RMT
|  | Extra copper piping charges/RMT, above 4 meter | 600
|  | Extra wire/cable, charges/RMT, above 4 meter | 100
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 90
|  | Aluminium cladding of external pipe per meter | 600
|  | PVC Trunking | 600
|  | Installation & commissioning cost | 1800
|  | Outdoor frame for Installation | 1000
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 11450
|  | Power Input Consumption (kW) | 0.93
|  | COP (W/W) | 3.6
|  | Type of Refrigerant (R22, R32, R410 etc) | R32
5 | Split Ac, 1.5 ton | Exact Model No. | FTF 50Q RVI6
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | 42307
|  | Star rating | 5 STAR
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 3.5 + 0 + 4 RMT
|  | Extra copper piping charges/RMT, above 4 meter | 600
|  | Extra wire/cable, charges/RMT, above 4 meter | 100
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 600
|  | PVC Trunking | 600
|  | Installation & commissioning cost | 1800
|  | Outdoor frame for Installation | 1000
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 17750
|  | Power Input Consumption (kW) | 1.445
|  | COP (W/W) | 3.6
|  | Type of Refrigerant (R22, R32, R410 etc) | R32
6 | Split Ac, 2 ton | Exact Model No. | NOT QUOTED
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | -----
|  | Star rating | -----
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | -----
|  | Extra copper piping charges/RMT, above 4 meter | -----
|  | Extra wire/cable, charges/RMT, above 4 meter | -----
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | -----
|  | Aluminium cladding of external pipe per meter | -----
|  | PVC Trunking | -----
|  | Installation & commissioning cost | -----
|  | Outdoor frame for Installation | -----
|  | Less: Buy back cost | -----
|  | Precise Cooling Capacity (BTU/h) | -----
|  | Power Input Consumption (kW) | -----
|  | COP (W/W) | -----
|  | Type of Refrigerant (R22, R32, R410 etc) | -----
6 | Split Ac, 2 ton | Exact Model No. | FTF60QRVI6
| 4 STAR | Total cost (Incl. Taxes, octroi, etc) | 52635
|  | Star rating | 4 STAR
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 3.5 + 0 + 4 RMT
|  | Extra copper piping charges/RMT, above 4 meter | 700
|  | Extra wire/cable, charges/RMT, above 4 meter | 120
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 600
|  | PVC Trunking | 600
|  | Installation & commissioning cost | 2000
|  | Outdoor frame for Installation | 1200
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 21800
|  | Power Input Consumption (kW) | 1.88
|  | COP (W/W) | 3.39
|  | Type of Refrigerant (R22, R32, R410 etc) | R32
7 | Split Ac, 2 ton | Exact Model No. | NOT QUOTED
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | -----
|  | Star rating | -----
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | -----
|  | Extra copper piping charges/RMT, above 4 meter | -----
|  | Extra wire/cable, charges/RMT, above 4 meter | -----
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | -----
|  | Aluminium cladding of external pipe per meter | -----
|  | PVC Trunking | -----
|  | Installation & commissioning cost | -----
|  | Outdoor frame for Installation | -----
|  | Less: Buy back cost | -----
|  | Precise Cooling Capacity (BTU/h) | -----
|  | Power Input Consumption (kW) | -----
|  | COP (W/W) | -----
|  | Type of Refrigerant (R22, R32, R410 etc) | -----
8 | Split Ac, 1 ton, Inverter | Exact Model No. | FTKP35QRV16
|  | Total cost (Incl. Taxes, octroi, etc) | 40822
|  | Star rating | INVERTER
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 3.5 + 0 + 4 RMT
|  | Extra copper piping charges/RMT, above 4 meter | 600
|  | Extra wire/cable, charges/RMT, above 4 meter | 100
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 600
|  | PVC Trunking | 600
|  | Installation & commissioning cost | 1800
|  | Outdoor frame for Installation | 1000
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 11610
|  | Power Input Consumption (kW) | 0.982
|  | COP (W/W) | 3.46
|  | Type of Refrigerant (R22, R32, R410 etc) | R32
9 | Split Ac, 1.5 ton, Inverter | Exact Model No. | FTKP50QRV16
|  | Total cost (Incl. Taxes, octroi, etc) | 46661
|  | Star rating | INVERTER
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 3.5 + 0 + 4 RMT
|  | Extra copper piping charges/RMT, above 4 meter | 600
|  | Extra wire/cable, charges/RMT, above 4 meter | 100
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 600
|  | PVC Trunking | 600
|  | Installation & commissioning cost | 1800
|  | Outdoor frame for Installation | 1000
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 17100
|  | Power Input Consumption (kW) | 1.445
|  | COP (W/W) | 3.46
|  | Type of Refrigerant (R22, R32, R410 etc) | R32
10 | Split Ac, 2 ton, Inverter | Exact Model No. | FTKP60QRV16
|  | Total cost (Incl. Taxes, octroi, etc) | 59328
|  | Star rating | INVERTER
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 3.5 + 0 + 4 RMT
|  | Extra copper piping charges/RMT, above 4 meter | 700
|  | Extra wire/cable, charges/RMT, above 4 meter | 120
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 600
|  | PVC Trunking | 600
|  | Installation & commissioning cost | 2000
|  | Outdoor frame for Installation | 1200
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 20500
|  | Power Input Consumption (kW) | 1.765
|  | COP (W/W) | 3.4
|  | Type of Refrigerant (R22, R32, R410 etc) | R32
11 | Cassette 2 Ton | Exact Model No. | FCNQ21MVI
|  | Total cost (Incl. Taxes, octroi, etc) | 77000
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 700 + 100 + 120
|  | Extra copper piping charges/RMT, above 4 meter | 700
|  | Extra wire/cable, charges/RMT, above 4 meter | 120
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 600
|  | PVC Trunking | 600
|  | Installation & commissioning cost | 2500
|  | Outdoor frame for Installation (Indoor Bracket) | 1500
|  | Less: Buy back cost | 3000
|  | Precise Cooling Capacity (BTU/h) | 21000
|  | Power Input Consumption (kW) | 2.21
|  | COP (W/W) | 2.78
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
12 | Cassette 3 Ton | Exact Model No. | FCNQ36MVI
|  | Total cost (Incl. Taxes, octroi, etc) | 112012
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 1000 + 120 + 150
|  | Extra copper piping charges/RMT, above 4 meter | 1000
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 120
|  | Aluminium cladding of external pipe per meter | 600
|  | PVC Trunking | 600
|  | Installation & commissioning cost | 4000
|  | Outdoor frame for Installation (Indoor Bracket) | 2500
|  | Less: Buy back cost | 3000
|  | Precise Cooling Capacity (BTU/h) | 36000
|  | Power Input Consumption (kW) | 3.31
|  | COP (W/W) | 3.18
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
13 | Cassette 4 Ton | Exact Model No. | FCNQ48MVI
|  | Total cost (Incl. Taxes, octroi, etc) | 145546
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 1000 + 100 + 120
|  | Extra copper piping charges/RMT, above 4 meter | 1000
|  | Extra wire/cable, charges/RMT, above 4 meter | 120
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 600
|  | PVC Trunking | 600
|  | Installation & commissioning cost | 5000
|  | Outdoor frame for Installation (Indoor Bracket) | 4000
|  | Less: Buy back cost | 3000
|  | Precise Cooling Capacity (BTU/h) | 48000
|  | Power Input Consumption (kW) | 5.04
|  | COP (W/W) | 2.79
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
14 | Tower Air conditioner, 2 Ton | Exact Model No. | FVRN71AXV16
|  | Total cost (Incl. Taxes, octroi, etc) | 105890
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 800 + 100 + 120
|  | Extra copper piping charges/RMT, above 4 meter | 800
|  | Extra wire/cable, charges/RMT, above 4 meter | 120
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 600
|  | PVC Trunking | 600
|  | Indoor unit Stand (1 no.) | 2000
|  | Installation & commissioning cost | 2500
|  | Outdoor frame for Installation | 3000
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 28000
|  | Power Input Consumption (kW) | 2.84
|  | COP (W/W) | 2.89
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
15 | Tower Air conditioner, 3 Ton | Exact Model No. | FVRN 100AXV16
|  | Total cost (Incl. Taxes, octroi, etc) | 117219
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 1000 + 100 + 120
|  | Extra copper piping charges/RMT, above 4 meter | 1000
|  | Extra wire/cable, charges/RMT, above 4 meter | 120
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 600
|  | PVC Trunking | 600
|  | Indoor unit Stand (1 no.) | 2000
|  | Installation & commissioning cost | 4000
|  | Outdoor frame for Installation | 3000
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 40000
|  | Power Input Consumption (kW) | 4.05
|  | COP (W/W) | 2.89
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
16 | Tower Air conditioner, 4 Ton | Exact Model No. (BTU/h) | FVRN125AXV16
|  | Total cost (Incl. Taxes, octroi, etc) | 123631
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 1000 + 100 + 120
|  | Extra copper piping charges/RMT, above 4 meter (Hard Pipe) | 1000
|  | Extra wire/cable, charges/RMT, above 4 meter | 120
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 100
|  | Aluminium cladding of external pipe per meter | 600
|  | PVC Trunking | 600
|  | Indoor unit Stand (1 no.) | 2000
|  | Installation & commissioning cost | 4500
|  | Outdoor frame for Installation | 3000
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 45000
|  | Power Input Consumption (kW) | 4.74
|  | COP (W/W) | 2.78
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
17 | Tower Air conditioner, 5 Ton | Exact Model No. | FVRN140AXV16
|  | Total cost (Incl. Taxes, octroi, etc) | 130257
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 1200 + 150 + 200
|  | Extra copper piping charges/RMT, above 4 meter (Hard Pipe) | 1200
|  | Extra wire/cable, charges/RMT, above 4 meter | 200
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 150
|  | Aluminium cladding of external pipe per meter | 600
|  | PVC Trunking | 600
|  | Indoor unit Stand (1 no.) | 2000
|  | Installation & commissioning cost | 5000
|  | Outdoor frame for Installation | 3000
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 55000
|  | Power Input Consumption (kW) | 5.48
|  | COP (W/W) | 2.94
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
Disclaimer: The rate contract models are derived from tendering done at the EMD department. Prices are compared for the models with online website data and it has been found that the prices of most of the models are within ± 10 % of market prices as on 25/07/2015. Rate contract is done for one year and any fluctuations in market prices are not applicable to rate contract models. The agencies considered have been authorized by respective OEMs, and are well conversant with IIT Bombay policies and security conditions/guidelines. If the user is getting the same AC in an open market at a lesser price, He/she may process the same following Institute norms. He/she is required to ascertain warranty and free under warranty services from respective non rate contracted venders and hand over the AC in good working condition to EMD for AMC after the guarantee period.

## Nikhil Comfort
Indian Institute of Technology Bombay, Powai, Mumbai – 400 076.
TENDER FORMAT for Indigenous Supplies
Reference No. :- BW&E/CANO/EMD/01/RATE CONTRACT/ROOM AC:2015-16
Name of work : Rate Contract for Supply & Installation of Room AC.
Price Bid for Annual Rate contract of Room Air conditioners |  |  | M/s.Nikhil Comfort
No. | Item Description | Details | Make (TOSHIBA)
1 | Window Ac, 1 ton | Exact Model No. | NOT QUOTED
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
1 | Window Ac, 1 ton | Exact Model No. | NOT QUOTED
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
2 | Window Ac, 1.5 ton | Exact Model No. | NOT QUOTED
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
2 | Window Ac, 1.5 ton | Exact Model No. | NOT QUOTED
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
3 | Window Ac, 2 ton | Exact Model No. | NOT QUOTED
| 1 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
3 | Window Ac, 2 ton | Exact Model No. | NOT QUOTED
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
4 | Split Ac, 1 ton | Exact Model No. | RAS-13N3KPX-IN1+RAS-13N3AX-IN1
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | 33056
|  | Star rating | 5 STAR
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 1006 + 228 + 91
|  | Extra copper piping charges/RMT, above 4 meter | 1006
|  | Extra wire/cable, charges/RMT, above 4 meter | 91
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 228
|  | Aluminium cladding of external pipe per meter | 217
|  | PVC Trunking | 1245
|  | Installation & commissioning cost | 1713
|  | Outdoor frame for Installation | 3429
|  | Less: Buy back cost | 1000
|  | Precise Cooling Capacity (BTU/h) | 12300
|  | Power Input Consumption (kW) | 1.02
|  | COP (W/W) | 3.53
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
5 | Split Ac, 1.5 ton | Exact Model No. | RAS18N3KPX-IN+RAS18N3AX-IN
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | 44522
|  | Star rating | 5 STAR
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 1006 + 228 + 91
|  | Extra copper piping charges/RMT, above 4 meter | 1006
|  | Extra wire/cable, charges/RMT, above 4 meter | 91
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 228
|  | Aluminium cladding of external pipe per meter | 217
|  | PVC Trunking | 1245
|  | Installation & commissioning cost | 2055
|  | Outdoor frame for Installation | 3429
|  | Less: Buy back cost | 1500
|  | Precise Cooling Capacity (BTU/h) | 17400
|  | Power Input Consumption (kW) | 1.44
|  | COP (W/W) | 3.54
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
6 | Split Ac, 2 ton | Exact Model No. | NOT QUOTED
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | -----
|  | Star rating | -----
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | -----
|  | Extra copper piping charges/RMT, above 4 meter | -----
|  | Extra wire/cable, charges/RMT, above 4 meter | -----
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | -----
|  | Aluminium cladding of external pipe per meter | -----
|  | PVC Trunking | -----
|  | Installation & commissioning cost | -----
|  | Outdoor frame for Installation | -----
|  | Less: Buy back cost | -----
|  | Precise Cooling Capacity (BTU/h) | -----
|  | Power Input Consumption (kW) | -----
|  | COP (W/W) | -----
|  | Type of Refrigerant (R22, R32, R410 etc) | -----
6 | Split Ac, 2 ton | Exact Model No. | NOT QUOTED
| 4 STAR | Total cost (Incl. Taxes, octroi, etc) | -----
|  | Star rating | -----
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | -----
|  | Extra copper piping charges/RMT, above 4 meter | -----
|  | Extra wire/cable, charges/RMT, above 4 meter | -----
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | -----
|  | Aluminium cladding of external pipe per meter | -----
|  | PVC Trunking | -----
|  | Installation & commissioning cost | -----
|  | Outdoor frame for Installation | -----
|  | Less: Buy back cost | -----
|  | Precise Cooling Capacity (BTU/h) | -----
|  | Power Input Consumption (kW) | -----
|  | COP (W/W) | -----
|  | Type of Refrigerant (R22, R32, R410 etc) | -----
7 | Split Ac, 2 ton | Exact Model No. | RAS-25N3KPX-IN1+RAS-25N3AX-IN1
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | 54711
|  | Star rating | 5 STAR
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 1006 + 228 + 91
|  | Extra copper piping charges/RMT, above 4 meter | 1006
|  | Extra wire/cable, charges/RMT, above 4 meter | 91
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 228
|  | Aluminium cladding of external pipe per meter | 217
|  | PVC Trunking | 1245
|  | Installation & commissioning cost | 2740
|  | Outdoor frame for Installation | 3429
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 23220
|  | Power Input Consumption (kW) | 1.88
|  | COP (W/W) | 3.51
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
8 | Split Ac, 1 ton, Inverter | Exact Model No. | RAS13N3KCV-IN+RAS 13N3ACV-IN
|  | Total cost (Incl. Taxes, octroi, etc) | 39567
|  | Star rating | INVERTER
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 1006 + 228 + 91
|  | Extra copper piping charges/RMT, above 4 meter | 1006
|  | Extra wire/cable, charges/RMT, above 4 meter | 91
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 228
|  | Aluminium cladding of external pipe per meter | 217
|  | PVC Trunking | 1245
|  | Installation & commissioning cost | 1713
|  | Outdoor frame for Installation | 3429
|  | Less: Buy back cost | 1000
|  | Precise Cooling Capacity (BTU/h) | 11950
|  | Power Input Consumption (kW) | 1.07
|  | COP (W/W) | 3.27
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
9 | Split Ac, 1.5 ton, Inverter | Exact Model No. | RAS18N3KCV-IN+RAS18N3ACV-IN
|  | Total cost (Incl. Taxes, octroi, etc) | 49033
|  | Star rating | INVERTER
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 1006 + 228 + 91
|  | Extra copper piping charges/RMT, above 4 meter | 1006
|  | Extra wire/cable, charges/RMT, above 4 meter | 91
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 228
|  | Aluminium cladding of external pipe per meter | 217
|  | PVC Trunking | 1245
|  | Installation & commissioning cost | 2055
|  | Outdoor frame for Installation | 3429
|  | Less: Buy back cost | 1500
|  | Precise Cooling Capacity (BTU/h) | 17060
|  | Power Input Consumption (kW) | 1.42
|  | COP (W/W) | 3.52
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
10 | Split Ac, 2 ton, Inverter | Exact Model No. | RAS22N3KCV-IN+RAS22N3ACV-IN
|  | Total cost (Incl. Taxes, octroi, etc) | 60278
|  | Star rating | INVERTER
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 1006 + 228 + 91
|  | Extra copper piping charges/RMT, above 4 meter | 1006
|  | Extra wire/cable, charges/RMT, above 4 meter | 91
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 228
|  | Aluminium cladding of external pipe per meter | 217
|  | PVC Trunking | 1245
|  | Installation & commissioning cost | 2740
|  | Outdoor frame for Installation | 3429
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 19790
|  | Power Input Consumption (kW) | 1.74
|  | COP (W/W) | 3.3
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
11 | Cassette 2 Ton | Exact Model No. | RAV-SE801UP+TE801AP
|  | Total cost (Incl. Taxes, octroi, etc) | 93333
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 1006 + 228 + 91
|  | Extra copper piping charges/RMT, above 4 meter | 1006
|  | Extra wire/cable, charges/RMT, above 4 meter | 91
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 228
|  | Aluminium cladding of external pipe per meter | 217
|  | PVC Trunking | 1245
|  | Installation & commissioning cost | 2740
|  | Outdoor frame for Installation (Indoor Bracket) | 3429
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 21100
|  | Power Input Consumption (kW) | 1.85
|  | COP (W/W) | 3.35
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
12 | Cassette 3 Ton | Exact Model No. | RAV-SE1001UP+TE1001A8
|  | Total cost (Incl. Taxes, octroi, etc) | 140944
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 1174 + 228 + 91
|  | Extra copper piping charges/RMT, above 4 meter | 1174
|  | Extra wire/cable, charges/RMT, above 4 meter | 91
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 228
|  | Aluminium cladding of external pipe per meter | 228
|  | PVC Trunking | 1245
|  | Installation & commissioning cost | 4111
|  | Outdoor frame for Installation (Indoor Bracket) | 4801
|  | Less: Buy back cost | 3000
|  | Precise Cooling Capacity (BTU/h) | 35800
|  | Power Input Consumption (kW) | 3.18
|  | COP (W/W) | 3.3
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
13 | Cassette 4 Ton | Exact Model No. | RAV-SE1251UP+TE1251A8
|  | Total cost (Incl. Taxes, octroi, etc) | 145556
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 1174 + 228 + 91
|  | Extra copper piping charges/RMT, above 4 meter | 1174
|  | Extra wire/cable, charges/RMT, above 4 meter | 91
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 228
|  | Aluminium cladding of external pipe per meter | 228
|  | PVC Trunking | 1245
|  | Installation & commissioning cost | 5480
|  | Outdoor frame for Installation (Indoor Bracket) | 6516
|  | Less: Buy back cost | 4000
|  | Precise Cooling Capacity (BTU/h) | 43000
|  | Power Input Consumption (kW) | 4.58
|  | COP (W/W) | 2.77
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
14 | Tower Air conditioner, 2 Ton | Exact Model No. | 42KFJ024718 + 38KFJ024718
|  | Total cost (Incl. Taxes, octroi, etc) | 70556
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 1006 + 228 + 91
|  | Extra copper piping charges/RMT, above 4 meter | 1006
|  | Extra wire/cable, charges/RMT, above 4 meter | 91
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 228
|  | Aluminium cladding of external pipe per meter | 217
|  | PVC Trunking | 1245
|  | Indoor unit Stand (1 no.) | 3429
|  | Installation & commissioning cost | 2740
|  | Outdoor frame for Installation | 3429
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 24000
|  | Power Input Consumption (kW) | 2.64
|  | COP (W/W) | 2.51
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
15 | Tower Air conditioner, 3 Ton | Exact Model No. | 42KFJ036518 + 38KFJ036518
|  | Total cost (Incl. Taxes, octroi, etc) | 92778
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 1174 + 228 + 91
|  | Extra copper piping charges/RMT, above 4 meter | 1174
|  | Extra wire/cable, charges/RMT, above 4 meter | 91
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 228
|  | Aluminium cladding of external pipe per meter | 228
|  | PVC Trunking | 1245
|  | Indoor unit Stand (1 no.) | 4801
|  | Installation & commissioning cost | 4111
|  | Outdoor frame for Installation | 4801
|  | Less: Buy back cost | 3000
|  | Precise Cooling Capacity (BTU/h) | 33000
|  | Power Input Consumption (kW) | 3.35
|  | COP (W/W) | 2.81
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
16 | Tower Air conditioner, 4 Ton | Exact Model No. (BTU/h) | 42KFJ042518 + 38KFJ042518
|  | Total cost (Incl. Taxes, octroi, etc) | 102667
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 1174 + 228 + 91
|  | Extra copper piping charges/RMT, above 4 meter (Hard Pipe) | 1174
|  | Extra wire/cable, charges/RMT, above 4 meter | 91
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 228
|  | Aluminium cladding of external pipe per meter | 228
|  | PVC Trunking | 1245
|  | Indoor unit Stand (1 no.) | 6516
|  | Installation & commissioning cost | 5480
|  | Outdoor frame for Installation | 6516
|  | Less: Buy back cost | 4000
|  | Precise Cooling Capacity (BTU/h) | 42000
|  | Power Input Consumption (kW) | 5.2
|  | COP (W/W) | 2.41
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
17 | Tower Air conditioner, 5 Ton | Exact Model No. | 42KFJ055518 + 38KFJ055518
|  | Total cost (Incl. Taxes, octroi, etc) | 132930
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | 1174 + 228 + 91
|  | Extra copper piping charges/RMT, above 4 meter (Hard Pipe) | 1174
|  | Extra wire/cable, charges/RMT, above 4 meter | 91
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 228
|  | Aluminium cladding of external pipe per meter | 228
|  | PVC Trunking | 1245
|  | Indoor unit Stand (1 no.) | 8230
|  | Installation & commissioning cost | 6851
|  | Outdoor frame for Installation | 8230
|  | Less: Buy back cost | 4500
|  | Precise Cooling Capacity (BTU/h) | 55000
|  | Power Input Consumption (kW) | 6.19
|  | COP (W/W) | 2.41
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
Disclaimer: The rate contract models are derived from tendering done at the EMD department. Prices are compared for the models with online website data and it has been found that the prices of most of the models are within ± 10 % of market prices as on 25/07/2015. Rate contract is done for one year and any fluctuations in market prices are not applicable to rate contract models. The agencies considered have been authorized by respective OEMs, and are well conversant with IIT Bombay policies and security conditions/guidelines. If the user is getting the same AC in an open market at a lesser price, He/she may process the same following Institute norms. He/she is required to ascertain warranty and free under warranty services from respective non rate contracted venders and hand over the AC in good working condition to EMD for AMC after the guarantee period.

## JMD HVAC
Indian Institute of Technology Bombay, Powai, Mumbai – 400 076.
TENDER FORMAT for Indigenous Supplies
Reference No. :- BW&E/CANO/EMD/01/RATE CONTRACT/ROOM AC:2015-16
Name of work : Rate Contract for Supply & Installation of Room AC.
Price Bid for Annual Rate contract of Room Air conditioners |  |  | M/s.JMD HVAC ltd
No. | Item Description | Details | Make (MITSUBISHI HEAVY)
1 | Window Ac, 1 ton | Exact Model No. | NOT QUOTED
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
1 | Window Ac, 1 ton | Exact Model No. | NOT QUOTED
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
2 | Window Ac, 1.5 ton | Exact Model No. | NOT QUOTED
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
2 | Window Ac, 1.5 ton | Exact Model No. | NOT QUOTED
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
3 | Window Ac, 2 ton | Exact Model No. | NOT QUOTED
| 1 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
3 | Window Ac, 2 ton | Exact Model No. | NOT QUOTED
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | ------
|  | Star rating | ------
|  | Less: Buy back cost | ------
|  | Precise Cooling Capacity (BTU/h) | ------
|  | Power Input Consumption (kW) | ------
|  | COP (W/W) | ------
|  | Window Size ( W x H) | ------
|  | Type of Refrigerant (R22, R32, R410 etc) | ------
4 | Split Ac, 1 ton | Exact Model No. | SRK 13CLV-6
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | 39500
|  | Star rating | 5 STAR
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 750
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 150
|  | Aluminium cladding of external pipe per meter | 225
|  | PVC Trunking | 525
|  | Installation & commissioning cost | 1500
|  | Outdoor frame for Installation | 900
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 13500
|  | Power Input Consumption (kW) | 1.06
|  | COP (W/W) | 3.6
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
5 | Split Ac, 1.5 ton | Exact Model No. | SRK 20CLS-6
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | 48800
|  | Star rating | 5 STAR
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 750
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 150
|  | Aluminium cladding of external pipe per meter | 225
|  | PVC Trunking | 525
|  | Installation & commissioning cost | 1500
|  | Outdoor frame for Installation | 900
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 19500
|  | Power Input Consumption (kW) | 1.475
|  | COP (W/W) | 3.59
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
6 | Split Ac, 2 ton | Exact Model No. | NOT QUOTED
| 3 STAR | Total cost (Incl. Taxes, octroi, etc) | -----
|  | Star rating | -----
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | -----
|  | Extra copper piping charges/RMT, above 4 meter | -----
|  | Extra wire/cable, charges/RMT, above 4 meter | -----
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | -----
|  | Aluminium cladding of external pipe per meter | -----
|  | PVC Trunking | -----
|  | Installation & commissioning cost | -----
|  | Outdoor frame for Installation | -----
|  | Less: Buy back cost | -----
|  | Precise Cooling Capacity (BTU/h) | -----
|  | Power Input Consumption (kW) | -----
|  | COP (W/W) | -----
|  | Type of Refrigerant (R22, R32, R410 etc) | -----
6 | Split Ac, 2 ton | Exact Model No. | SRK 25CKS-6
| 4 STAR | Total cost (Incl. Taxes, octroi, etc) | 56200
|  | Star rating | 4 STAR
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 800
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 150
|  | Aluminium cladding of external pipe per meter | 225
|  | PVC Trunking | 525
|  | Installation & commissioning cost | 1700
|  | Outdoor frame for Installation | 900
|  | Less: Buy back cost | 2200
|  | Precise Cooling Capacity (BTU/h) | 25700
|  | Power Input Consumption (kW) | 2.16
|  | COP (W/W) | 3.33
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
7 | Split Ac, 2 ton | Exact Model No. | SRK 26CNS-S6
| 5 STAR | Total cost (Incl. Taxes, octroi, etc) | 59700
|  | Star rating | 5 STAR
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 800
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 150
|  | Aluminium cladding of external pipe per meter | 225
|  | PVC Trunking | 525
|  | Installation & commissioning cost | 1700
|  | Outdoor frame for Installation | 900
|  | Less: Buy back cost | 2200
|  | Precise Cooling Capacity (BTU/h) | 26000
|  | Power Input Consumption (kW) | 2.06
|  | COP (W/W) | 3.58
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
8 | Split Ac, 1 ton, Inverter | Exact Model No. | SRK 13YLS
|  | Total cost (Incl. Taxes, octroi, etc) | 44490
|  | Star rating | INVERTER
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 750
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 150
|  | Aluminium cladding of external pipe per meter | 225
|  | PVC Trunking | 525
|  | Installation & commissioning cost | 1500
|  | Outdoor frame for Installation | 900
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 11950
|  | Power Input Consumption (kW) | 0.9
|  | COP (W/W) | 3.88
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
9 | Split Ac, 1.5 ton, Inverter | Exact Model No. | SRK 18 YLS
|  | Total cost (Incl. Taxes, octroi, etc) | 55400
|  | Star rating | INVERTER
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 750
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 150
|  | Aluminium cladding of external pipe per meter | 225
|  | PVC Trunking | 525
|  | Installation & commissioning cost | 1500
|  | Outdoor frame for Installation | 900
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 18300
|  | Power Input Consumption (kW) | 1.45
|  | COP (W/W) | 3.44
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
10 | Split Ac, 2 ton, Inverter | Exact Model No. | SRK 60ZMX-S
|  | Total cost (Incl. Taxes, octroi, etc) | 75490
|  | Star rating | INVERTER
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 800
|  | Extra wire/cable, charges/RMT, above 4 meter | 150
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 150
|  | Aluminium cladding of external pipe per meter | 225
|  | PVC Trunking | 525
|  | Installation & commissioning cost | 1700
|  | Outdoor frame for Installation | 900
|  | Less: Buy back cost | 2200
|  | Precise Cooling Capacity (BTU/h) | 20500
|  | Power Input Consumption (kW) | 1.86
|  | COP (W/W) | 3.65
|  | Type of Refrigerant (R22, R32, R410 etc) | R410A
11 | Cassette 2 Ton | Exact Model No. | FDT 30CAW
|  | Total cost (Incl. Taxes, octroi, etc) | 101690
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 900
|  | Extra wire/cable, charges/RMT, above 4 meter | 175
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 150
|  | Aluminium cladding of external pipe per meter | 225
|  | PVC Trunking | 525
|  | Installation & commissioning cost | 2500
|  | Outdoor frame for Installation (Indoor Bracket) | 1200
|  | Less: Buy back cost | 2000
|  | Precise Cooling Capacity (BTU/h) | 30000
|  | Power Input Consumption (kW) | 2.363
|  | COP (W/W) | 3.1
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
12 | Cassette 3 Ton | Exact Model No. | FDT 40CAW
|  | Total cost (Incl. Taxes, octroi, etc) | 124450
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 950
|  | Extra wire/cable, charges/RMT, above 4 meter | 175
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 150
|  | Aluminium cladding of external pipe per meter | 225
|  | PVC Trunking | 525
|  | Installation & commissioning cost | 3000
|  | Outdoor frame for Installation (Indoor Bracket) | 1200
|  | Less: Buy back cost | 2200
|  | Precise Cooling Capacity (BTU/h) | 46060
|  | Power Input Consumption (kW) | 3.75
|  | COP (W/W) | 3.33
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
13 | Cassette 4 Ton | Exact Model No. | NOT QUOTED
|  | Total cost (Incl. Taxes, octroi, etc) | -----
|  | Star rating | -----
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | -----
|  | Extra copper piping charges/RMT, above 4 meter | -----
|  | Extra wire/cable, charges/RMT, above 4 meter | -----
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | -----
|  | Aluminium cladding of external pipe per meter | -----
|  | PVC Trunking | -----
|  | Installation & commissioning cost | -----
|  | Outdoor frame for Installation (Indoor Bracket) | -----
|  | Less: Buy back cost | -----
|  | Precise Cooling Capacity (BTU/h) | -----
|  | Power Input Consumption (kW) | -----
|  | COP (W/W) | -----
|  | Type of Refrigerant (R22, R32, R410 etc) | -----
14 | Tower Air conditioner, 2 Ton | Exact Model No. | FDF30CA
|  | Total cost (Incl. Taxes, octroi, etc) | 97490
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 900
|  | Extra wire/cable, charges/RMT, above 4 meter | 175
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 150
|  | Aluminium cladding of external pipe per meter | 225
|  | PVC Trunking | 525
|  | Indoor unit Stand (1 no.) | 2750
|  | Installation & commissioning cost | 3000
|  | Outdoor frame for Installation | 3000
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 30000
|  | Power Input Consumption (kW) | 3.25
|  | COP (W/W) | 2.43
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
15 | Tower Air conditioner, 3 Ton | Exact Model No. | FDF 40 CA
|  | Total cost (Incl. Taxes, octroi, etc) | 125490
|  | Star rating | NA
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | Free
|  | Extra copper piping charges/RMT, above 4 meter | 950
|  | Extra wire/cable, charges/RMT, above 4 meter | 175
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | 150
|  | Aluminium cladding of external pipe per meter | 225
|  | PVC Trunking | 525
|  | Indoor unit Stand (1 no.) | 3000
|  | Installation & commissioning cost | 3000
|  | Outdoor frame for Installation | 3000
|  | Less: Buy back cost | 2500
|  | Precise Cooling Capacity (BTU/h) | 45000
|  | Power Input Consumption (kW) | 4.84
|  | COP (W/W) | 2.54
|  | Type of Refrigerant (R22, R32, R410 etc) | R22
16 | Tower Air conditioner, 4 Ton | Exact Model No. (BTU/h) | NOT QUOTED
|  | Total cost (Incl. Taxes, octroi, etc) | -----
|  | Star rating | -----
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | -----
|  | Extra copper piping charges/RMT, above 4 meter (Hard Pipe) | -----
|  | Extra wire/cable, charges/RMT, above 4 meter | -----
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | -----
|  | Aluminium cladding of external pipe per meter | -----
|  | PVC Trunking | -----
|  | Indoor unit Stand (1 no.) | -----
|  | Installation & commissioning cost | -----
|  | Outdoor frame for Installation | -----
|  | Less: Buy back cost | -----
|  | Precise Cooling Capacity (BTU/h) | -----
|  | Power Input Consumption (kW) | -----
|  | COP (W/W) | -----
|  | Type of Refrigerant (R22, R32, R410 etc) | -----
17 | Tower Air conditioner, 5 Ton | Exact Model No. | NOT QUOTED
|  | Total cost (Incl. Taxes, octroi, etc) | -----
|  | Star rating | -----
|  | First four meters of (per Meter) Copper, Drain, and Cable/wire respectively | -----
|  | Extra copper piping charges/RMT, above 4 meter (Hard Pipe) | -----
|  | Extra wire/cable, charges/RMT, above 4 meter | -----
|  | Extra UPVC Drain Pipe, charges/RMT, above 4 meter | -----
|  | Aluminium cladding of external pipe per meter | -----
|  | PVC Trunking | -----
|  | Indoor unit Stand (1 no.) | -----
|  | Installation & commissioning cost | -----
|  | Outdoor frame for Installation | -----
|  | Less: Buy back cost | -----
|  | Precise Cooling Capacity (BTU/h) | -----
|  | Power Input Consumption (kW) | -----
|  | COP (W/W) | -----
|  | Type of Refrigerant (R22, R32, R410 etc) | -----
Disclaimer: The rate contract models are derived from tendering done at the EMD department. Prices are compared for the models with online website data and it has been found that the prices of most of the models are within ± 10 % of market prices as on 25/07/2015. Rate contract is done for one year and any fluctuations in market prices are not applicable to rate contract models. The agencies considered have been authorized by respective OEMs, and are well conversant with IIT Bombay policies and security conditions/guidelines. If the user is getting the same AC in an open market at a lesser price, He/she may process the same following Institute norms. He/she is required to ascertain warranty and free under warranty services from respective non rate contracted venders and hand over the AC in good working condition to EMD for AMC after the guarantee period.